## Slide 1: Core Thermal Design
Mohsin Mohd Sies
Universiti Teknologi Malaysia
mohsin@fkm.utm.my
http://www.fkm.utm.my/~mohsin

## Slide 2: Motivation
Thermal (not nuclear) considerations limit the amount of reactor power generation
Temperatures anywhere in the core must not exceed material property limitations (fuel, cladding)
Otherwise fuel element damage might result in release of large quantities of radioactive material into coolant, or in-core fuel meltdown.

## Slide 3: Core Thermal Design
Core thermal design is an art of compromise
An iterative process (interdependence of heat flux and water density)
Overall plant characteristics is influenced by thermal hydraulic considerations

## Slide 4: Core Thermal Design
Once core basic lattice has been determined from nuclear, hydraulic, and heat transfer, the overall size of core becomes a sole function of thermal considerations
Parameters
  Fuel temperature distribution (most important)
  Specific power
  Power density
  Heat flux

## Slide 5: Core Design Objectives
Maximize core power density
Maximize attainable fuel burnup
Minimize cost of electricity
High outlet temperature for higher thermal efficiency
But temperatures of fuel and cladding anywhere in core must not exceed safe limits (material limitation)

## Slide 6: Design Constraints

## Slide 7: Design Constraints

## Slide 8: Thermal Reactor Design
3 categories of design considerations
  Nuclear Design
  Thermal-hydraulics Design
  Mechanical/Material Design

## Slide 9: Nuclear Design

## Slide 10: Thermal-hydraulics Design

## Slide 11: Mechanical/Materials Design

## Slide 12: Impact on various design areas

## Slide 13: Impact on various design areas

## Slide 14: Thermal Design Safety Aspects
DNB Ratio
Hot channel, hot spot factors
Thermal limits
  Fuel centerline temperature
  Cladding inner surface temperature
Values change with fuel burnup!

## Slide 15: Thermal Design Nomenclature (Nominal, Average, Peak, Maximum)

## Slide 16: Thermal Design Margin

## Slide 17: Thermal Design Limits

## Slide 18: Thermal Design Limits

## Slide 19
DNB Ratio

## Slide 20
Boiling Crisis for LWR

## Slide 21
Evaluation by Local Heat Flux (PWR)

## Slide 29: Thermal Crisis Summary
MDNBR > 1.17 (Japan)

## Slide 30: Hot-spot Factors
Hot spot factor (hot-channel factor) is safety factor or margin multiplied to calculated nominal temperatures.
Deviation from nominal values contributed by
  Nuclear hot-spot factors
  Engineering hot-spot factors

## Slide 31: Nuclear Hot-spot Factors
Deviations due to
  Partially inserted control rods
  Nonhomogeneities
    Moderator (boiling)
    Fuel
    Structural and other materials

## Slide 32: Engineering Hot-spot Factors
Deviations due to
  Mechanical subfactors
    Manufacturing tolerances (clad thickness)
    Warping of fuel elements
  Flow distribution subfactors
    Maldistribution of coolant flow
    Heat transfer coefficient, h
    Fuel element dimensions

## Slide 33: Hot-spot Factors (classified by effects)
By effects on temperature or enthalpy of fuel and coolant
  Factor for temp. rise of coolant from core inlet conditions,
  Factor for temp. rise across coolant boundary layer,
  Factor for temp. rise across fuel element,

## Slide 35: Overall Hot-spot Factor
Combining hot-spot subfactors, f, to get overall hot-spot factor, F.
Methods;
  Multiplicative
    All deviation factors are assumed to take place simultaneously at the same point.
    Overly conservative result
  Statistical
    Many deviation factors are independent of each other
    Small probability of occurring at the same point
    More realistic result

## Slide 36: References
Todreas, Kazimi, Nuclear Systems, Thermal Hydraulic Fundamentals, CRC Press
Lamarsh, Introduction to Nuclear Engineering, Prentice-Hall
M M ElWakil, Nuclear Heat Transport, International Textbook Company
Buongiorno, Notes on Two Phase Flow, Boiling Heat Transfer, and Boiling Crises in PWRs and BWRs, MIT
Buongiorno, Boiling Crisis in LWRs, MIT
Reactor Thermal Engineering IIb, ITP @ JAEA, August 2010